## Slide 1
ROTEM ALGORITHM - MAJOR OBSTETRIC HAEMORRHAGE ONLY
GIVE 1g TRANEXAMIC ACID
(If not given already)
1
REVIEW FIBTEM A5
(Fibrinogen)
FIBTEM A5 ≤ 8 mm
or
Fibrinogen ≤ 2 g/L
Give Fibrinogen Concentrate **
A5 5-8mm = 4g
A5 ≤ 5mm = 6g
EXTEM CT ≥ 80sec
Or abnormal PT/APTT
GIVE FFP
*Booking weight ≤ 50Kg = 3 units
> 50Kg = 4 units
Platelets ≤75 x 109/L
Give Platelets
1 adult dose
TAKE POCT: ROTEM, VBG/ABG (for lactate, Hb, iCa2+)
BLOODS Lab: FBC, Coag (PT, APTT & Fib), U&Es +/- G&S
AIMS FOR THERAPY:
SBP >90 (until definitive control)
Temp >36∘C
Hb >80g/L
Platelets >75 x 109/L
Fibrinogen >2.0g/L
Ionised Ca2+ >1mmol/L
pH >7.35 (on ABG)
Monitor for hyperkalaemia
Adapted for use at GHNHSFT from OBSCYMRU ROTEM Protocol
RING 2222 State “MAJOR OBSTETRIC HAEMORRHAGE” and “LOCATION”
RING BLOOD BANK GRH 5244
ORDER PACK A (4units RBCs)
If any further Haematological advice needed, contact Consultant Haematologist via switchboard
Refer to GHNHSFT Anticoagulant reversal guidelines if the patient is on any Anticoagulant
2
REVIEW EXTEM CT
(Clotting Factors)
3
REVIEW FBC
(Platelets)
GHT ROTEM algorithm July 2025
BLOOD LOSS > 1500ml (measured or suspected) or if clinical concern
Platelets > 75 x 109/L
No Platelets required
EXTEM CT < 80sec
Or normal PT/APTT
No FFP required
FIBTEM A5 ≥ 9 mm
or
Fibrinogen > 2 g/L
No Fibrinogen concentrate currently required
When FIBTEM A5 ≥ 9mm and/or Fibrinogen > 2 g/l after administering Fibrinogen, review EXTEM CT
NO
No blood products required
CLINICAL MONITORING
Consider HDU care post op
ANY OF THE FOLLOWING?
Clinical concern
Suspected further bleeding (inc concealed bleeding)
>500ml further blood loss
ONGOING BLEEDING or CLINICAL CONCERN?
If bleeding ongoing after 30mins, give 2nd dose 1g TXA
YES
** CONSIDERATIONS
If bleeding ongoing after > 4000ml blood loss, give FFP * irrespective of EXTEM CT
If bleeding ongoing after 8-12g Fibrinogen concentrate, contact Haematology and consider cryoprecipitate
ANY OF THE FOLLOWING? **
Any blood products given
500ml further blood loss
Clinical concern of bleeding
REVIEW OTHER CAUSES OF BLEEDING
If coagulation normal, escalate obstetric & anaesthetic care
REPEAT ROTEM 15 MINUTES AFTER BLOOD PRODUCTS ADMINISTERED